## edited_createdSUMMARY
Cruise | Date (UTC) | Start Time (UTC) | Station Depth | LTER Station | sample_type | Cast | Niskin | Niskin Target Depth | Replicate | Comments | quality_flag_C | quality_flag_N | Date run | filename | NPOC(uM) | TN(uM) | Notes during lab analysis | STDEV_DOC | STDEV_TDN
EN727 | 20250124 | 1859 | 20 | L1 | cast | 1 | 15 | 3 | a |  | 1 | 1 | 2025-04-29 | 1 | 88.5249 | 6.1093 |  | 1.1413 | 0.1405 | 14.4902
EN727 | 20250125 | 414 | 47 | L2 | cast | 2 | 16 | 3 | a |  | 1 | 1 | 2025-04-29 | 2 | 83.814 | 5.0251 |  | 0.97844 | 0.205 | 16.6789
EN727 | 20250125 | 1011 | 67 | L4 | cast | 5 | 10 | 25 | a |  | 1 | 1 | 2025-04-29 | 3 | 77.8346 | 6.9749 |  | 0.43375 | 0.26536 | 11.1593
EN727 | 20250125 | 1011 | 67 | L4 | cast | 5 | 18 | 3.5 | a |  | 1 | 1 | 2025-04-29 | 4 | 74.64 | 6.2153 |  | 0.89858 | 0.13075 | 12.0091
EN727 | 20250125 | 1011 | 67 | L4 | cast | 5 | 18 | 3.5 | b | DUPLICATE | 1 | 1 | 2025-04-29 | 5 | 75.7402 | 7.035 |  | 1.1964 | 0.13733 | 10.7662
EN727 | 20250126 | 350 | 1526 | L11 | cast | 6 | 1 | 500 | a |  | 1 | 1 | 2025-04-29 | 6 | 47.5515 | 19.3126 |  | 0.94094 | 0.058682 | 2.4622
EN727 | 20250126 | 350 | 1526 | L11 | cast | 6 | 1 | 500 | b | DUPLICATE | 1 | 1 | 2025-04-29 | 7 | 46.7609 | 20.6951 |  | 0.59558 | 0.38248 | 2.2595
EN727 | 20250126 | 350 | 1526 | L11 | cast | 6 | 4 | 75 | a |  | 1 | 1 | 2025-04-29 | 8 | 58.7107 | 10.9989 |  | 1.0618 | 0.25859 | 5.3379
EN727 | 20250126 | 350 | 1526 | L11 | cast | 6 | 15 | 20 | a |  | 1 | 1 | 2025-04-29 | 9 | 69.9821 | 7.1005 |  | 0.75197 | 0.15428 | 9.8559
EN727 | 20250126 | 350 | 1526 | L11 | cast | 6 | 19 | 3 | a |  | 1 | 1 | 2025-04-29 | 10 | 69.2771 | 6.9082 |  | 0.66815 | 0.25881 | 10.0282
EN727 | 20250126 | 1112 | 452 | L10 | cast | 9 | 1 | 442 | a |  | 1 | 1 | 2025-04-29 | 11 | 46.7609 | 20.9508 |  | 0.34186 | 0.359 | 2.2319
EN727 | 20250126 | 1112 | 452 | L10 | cast | 9 | 6 | 100 | a |  | 1 | 1 | 2025-04-29 | 12 | 53.8051 | 14.0011 |  | 0.45421 | 0.16083 | 3.8429
EN727 | 20250126 | 1112 | 452 | L10 | cast | 9 | 16 | 25 | a |  | 1 | 1 | 2025-04-29 | 13 | 69.6429 | 7.2022 |  | 1.3382 | 0.18664 | 9.6697
EN727 | 20250126 | 1112 | 452 | L10 | cast | 9 | 21 | 5 | a |  | 1 | 1 | 2025-04-29 | 14 | 69.9261 | 6.5279 |  | 1.3999 | 0.24708 | 10.7119
EN727 | 20250126 | 1837 | 139 | L8 | cast | 10 | 2 | 133 | a |  | 1 | 1 | 2025-04-29 | 15 | 56.0323 | 15.8404 |  | 0.88906 | 0.32207 | 3.5373
EN727 | 20250126 | 1837 | 139 | L8 | cast | 10 | 3 | 102 | a |  | 1 | 1 | 2025-04-29 | 16 | 64.1945 | 9.6863 |  | 1.2665 | 0.10033 | 6.6273
EN727 | 20250126 | 1837 | 139 | L8 | cast | 10 | 11 | 33 | a |  | 1 | 1 | 2025-04-29 | 17 | 69.9674 | 9.518 |  | 0.56404 | 0.3056 | 7.351
EN727 | 20250126 | 1837 | 139 | L8 | cast | 10 | 19 | 7 | a |  | 1 | 1 | 2025-04-29 | 18 | 69.7461 | 8.9082 |  | 0.71464 | 0.13937 | 7.8294
EN727 | 20250126 | 2107 | 212 | L9 | cast | 11 | 2 | 206 | a |  | 1 | 1 | 2025-04-29 | 19 | 47.9939 | 21.1661 |  | 0.97185 | 0.45744 | 2.2675
EN727 | 20250126 | 2107 | 212 | L9 | cast | 11 | 6 | 100 | a |  | 1 | 1 | 2025-04-29 | 20 | 59.6459 | 11.3377 |  | 1.0603 | 0.05593 | 5.2608
EN727 | 20250126 | 2107 | 212 | L9 | cast | 11 | 14 | 40 | a |  | 1 | 1 | 2025-04-29 | 21 | 68.9792 | 8.2798 |  | 0.20005 | 0.23757 | 8.331
EN727 | 20250126 | 2107 | 212 | L9 | cast | 11 | 14 | 40 | b | DUPLICATE | 3 | 1 | 2025-04-29 | 22 | 72.4954 | 8.6525 |  | 1.2292 | 0.32649 | 8.3786
EN727 | 20250126 | 2107 | 212 | L9 | cast | 11 | 21 | 6 | a |  | 1 | 1 | 2025-04-29 | 23 | 72.8966 | 8.9126 |  | 0.12048 | 0.2852 | 8.1791
EN727 | 20250127 | 352 | 123 | L7 | cast | 14 | 5 | 100 | a |  | 1 | 1 | 2025-04-29 | 24 | 73.1532 | 9.2962 |  | 1.4184 | 0.15411 | 7.8692
EN727 | 20250127 | 352 | 123 | L7 | cast | 14 | 15 | 30 | a |  | 1 | 1 | 2025-04-29 | 25 | 73.7904 | 8.7563 |  | 0.78768 | 0.22907 | 8.4271
EN727 | 20250127 | 352 | 123 | L7 | cast | 14 | 19 | 4 | a |  | 1 | 1 | 2025-04-29 | 26 | 72.5131 | 9.2448 |  | 1.1233 | 0.034439 | 7.8437
EN727 | 20250127 | 1021 | 95 | L6 | cast | 18 | 2 | 89 | a |  | 1 | 1 | 2025-04-29 | 27 | 76.1886 | 8.1749 |  | 0.47039 | 0.20923 | 9.3199
EN727 | 20250127 | 1021 | 95 | L6 | cast | 18 | 9 | 34 | a |  | 1 | 1 | 2025-04-29 | 28 | 73.2712 | 8.8044 |  | 0.65085 | 0.46602 | 8.3221
EN727 | 20250127 | 1021 | 95 | L6 | cast | 18 | 21 | 4.5 | a |  | 1 | 1 | 2025-04-29 | 29 | 74.047 | 8.647 |  | 1.1777 | 0.30132 | 8.5633
EN727 | 20250127 | 1959 | 77 | L5 | cast | 19 | 13 | 30 | a |  | 1 | 1 | 2025-04-29 | 30 | 73.7461 | 7.0361 |  | 0.81883 | 0.26699 | 10.4812
EN727 | 20250127 | 1959 | 77 | L5 | cast | 19 | 13 | 30 | b | DUPLICATE | 1 | 1 | 2025-04-29 | 31 | 74.7904 | 7.8765 |  | 1.0986 | 0.32408 | 9.4954
EN727 | 20250127 | 1959 | 77 | L5 | cast | 19 | 17 | 5 | a |  | 1 | 1 | 2025-04-29 | 32 | 74.6252 | 7.188 |  | 1.2643 | 0.27275 | 10.3819
EN727 | 20250128 | 230 | 54 | L3 | cast | 20 | 5 | 30 | a |  | 1 | 1 | 2025-04-29 | 33 | 80.7697 | 4.7628 |  | 0.89592 | 0.27658 | 16.9583
EN727 | 20250128 | 230 | 54 | L3 | cast | 20 | 12 | 4 | a |  | 1 | 1 | 2025-04-29 | 34 | 82.7019 | 5.1913 |  | 1.6663 | 0.13666 | 15.931
EN727 | 20250128 | 950 | 22 | MVCO | cast | 21 | 21 | 5.6 | a |  | 1 | 1 | 2025-04-29 | 35 | 87.5515 | 5.8415 |  | 1.018 | 0.1175 | 14.9878
EN727 | 20250129 |  |  |  | blank |  |  |  | a | Endeavor SPL MQ blank | 1 | 1 | 2025-04-29 | 36 | 1.2671 | 0 |  | 0.29059 | 0 | #DIV/0!

## DOC RESULTS
Determination of dissolved organic carbon (DOC) and total dissolved nitrogen (TDN) using High Temperature Combustion Analysis
Carlson DOM lab (UCSB)
This tab provides a summary of your data with details of each individual run, and includes information on internal checks such as standards and reference materials. Please note that this data has been quality control checked by a DOM technician as well as the Lab Manager. All runs have passed system specifications, indicating the TOC instrument was analytically performing and data provided is good quality. The submitting researcher is ultimately responsible for final QC of dataset and assessing quality of sampling.If you have any questions, please contact us at dom.analysis@gmail.com
Carlson Lab Method: | https://repository.oceanbestpractices.org/handle/11329/1921
Project: | NE Shelf LTER
Submitting researcher: | Taylor Crockford, Sr. Research Assistant, WHOI (Sosik Lab)
Contact (email): | ecrockford@whoi.edu
Invoice remittance/contact: | ecrockford@whoi.edu
Total #Runs | 1
Total #Samples | 36
Date e-mailed&Initials: | 4.29.25 EH
QA/QC
RUN1
Nanopure blank[UMOL C/L]: | 2.9
STANDARDS [GLUCOSE] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L]
Standard 1 | 25.0096 | 23.9969 | 0.39567
Standard 2 | 49.5818 | 48.2329 | 0.67746
Standard 3 | 74.5962 | 72.9054 | 0.45576
Standard 4 | 98.8843 | 97.345 | 0.65231
REFERENCES [SEAWATER] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L]
MOHK 08-23 SRW | 80.94 | 80.1232 | 0.60438
House 11-23 MRW | 55.99 | 55.5131 | 0.80257
HASW 02-22 DRW | 34.81 | 34.2924 | 0.87087
Results
Sample# | Cruise | Date (UTC) | Start Time (UTC) | Station Depth | LTER Station | Cast Type | Cast | Niskin # | Niskin Target Depth | Replicate | Comments | DOC [UMOL/L] | DOC STD DEV [UMOL/L]
1 | EN727 | 20250124 | 1859 | 20 | L1 | C | 1 | 15 | 3 | a |  | 88.5249 | 1.1413
2 | EN727 | 20250125 | 414 | 47 | L2 | C | 2 | 16 | 3 | a |  | 83.814 | 0.97844
3 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 10 | 25 | a |  | 77.8346 | 0.43375
4 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 18 | 3.5 | a |  | 74.64 | 0.89858
5 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 18 | 3.5 | b | DUPLICATE | 75.7402 | 1.1964
6 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 1 | 500 | a |  | 47.5515 | 0.94094
7 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 1 | 500 | b | DUPLICATE | 46.7609 | 0.59558
8 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 4 | 75 | a |  | 58.7107 | 1.0618
9 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 15 | 20 | a |  | 69.9821 | 0.75197
10 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 19 | 3 | a |  | 69.2771 | 0.66815
11 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 1 | 442 | a |  | 46.7609 | 0.34186
12 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 6 | 100 | a |  | 53.8051 | 0.45421
13 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 16 | 25 | a |  | 69.6429 | 1.3382
14 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 21 | 5 | a |  | 69.9261 | 1.3999
15 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 2 | 133 | a |  | 56.0323 | 0.88906
16 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 3 | 102 | a |  | 64.1945 | 1.2665
17 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 11 | 33 | a |  | 69.9674 | 0.56404
18 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 19 | 7 | a |  | 69.7461 | 0.71464
19 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 2 | 206 | a |  | 47.9939 | 0.97185
20 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 6 | 100 | a |  | 59.6459 | 1.0603
21 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 14 | 40 | a |  | 68.9792 | 0.20005
22 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 14 | 40 | b | DUPLICATE | 72.4954 | 1.2292
23 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 21 | 6 | a |  | 72.8966 | 0.12048
24 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 5 | 100 | a |  | 73.1532 | 1.4184
25 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 15 | 30 | a |  | 73.7904 | 0.78768
26 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 19 | 4 | a |  | 72.5131 | 1.1233
27 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 2 | 89 | a |  | 76.1886 | 0.47039
28 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 9 | 34 | a |  | 73.2712 | 0.65085
29 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 21 | 4.5 | a |  | 74.047 | 1.1777
30 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 13 | 30 | a |  | 73.7461 | 0.81883
31 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 13 | 30 | b | DUPLICATE | 74.7904 | 1.0986
32 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 17 | 5 | a |  | 74.6252 | 1.2643
33 | EN727 | 20250128 | 230 | 54 | L3 | C | 20 | 5 | 30 | a |  | 80.7697 | 0.89592
34 | EN727 | 20250128 | 230 | 54 | L3 | C | 20 | 12 | 4 | a |  | 82.7019 | 1.6663
35 | EN727 | 20250128 | 950 | 22 | MVCO | C | 21 | 21 | 5.6 | a |  | 87.5515 | 1.018
36 | EN727 | 20250129 |  |  |  | blank |  |  |  | a | Endeavor SPL MQ blank | 1.2671 | 0.29059
END///

## TDN RESULTS
Determination of dissolved organic carbon (DOC) and total dissolved nitrogen (TDN) using High Temperature Combustion
Carlson DOM lab (UCSB)
This tab provides a summary of your data with details of each individual run, and includes information on internal checks such as standards and reference materials. Please note that this data has been quality control checked by a DOM technician as well as the Lab Manager. All runs have passed system specifications, indicating the TOC instrument was analytically performing and data provided is good quality. The submitting researcher is ultimately responsible for final QC of dataset and assessing quality of sampling.If you have any questions, please contact us at dom.analysis@gmail.com
Carlson Lab Method: | https://repository.oceanbestpractices.org/handle/11329/1921
Project: | NE Shelf LTER
Submitting researcher: | Taylor Crockford, Sr. Research Assistant, WHOI (Sosik Lab)
Contact (email): | ecrockford@whoi.edu
Invoice remittance/contact: | ecrockford@whoi.edu
Total #Runs | 1
Total #Samples | 36
Date e-mailed&Initials: | 4.29.25 EH
QA/QC
RUN1
Nanopure blank[UMOL N/L]: | 0.02
STANDARDS [KN03] | Actual [UMOL N/L] | Measured [UMOL N/L] | STDEV [UMOL N/L]
Standard 1 | 2.9156 | 2.7756 | 0.27527
Standard 2 | 8.0135 | 7.9049 | 0.16232
Standard 3 | 16.0467 | 16.6295 | 0.12144
Standard 4 | 23.8239 | 24.2219 | 0.054107
Standard 5 | 48.189 | 49.9016 | 0.99231
REFERENCES [SEAWATER] | Calibrated [UMOL N/L] | AVE [UMOL N/L] | STDEV [UMOL N/L]
CRM 08-18 SSR | 4.25 | 4.5064 | 0.16226
CRM 08-18 MSR | 9.87 | 9.7287 | 0.27103
CRM 08-18 DSR | 31.79 | 31.7173 | 0.76792
Results
Sample# | Cruise | Date (UTC) | Start Time (UTC) | Station Depth | LTER Station | Cast Type | Cast | Niskin # | Niskin Target Depth | Replicate | Comments | TDN [UMOL/L] | TDN STD DEV [UMOL/L]
1 | EN727 | 20250124 | 1859 | 20 | L1 | C | 1 | 15 | 3 | a |  | 6.1093 | 0.1405
2 | EN727 | 20250125 | 414 | 47 | L2 | C | 2 | 16 | 3 | a |  | 5.0251 | 0.205
3 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 10 | 25 | a |  | 6.9749 | 0.26536
4 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 18 | 3.5 | a |  | 6.2153 | 0.13075
5 | EN727 | 20250125 | 1011 | 67 | L4 | C | 5 | 18 | 3.5 | b | DUPLICATE | 7.035 | 0.13733
6 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 1 | 500 | a |  | 19.3126 | 0.058682
7 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 1 | 500 | b | DUPLICATE | 20.6951 | 0.38248
8 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 4 | 75 | a |  | 10.9989 | 0.25859
9 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 15 | 20 | a |  | 7.1005 | 0.15428
10 | EN727 | 20250126 | 350 | 1526 | L11 | C | 6 | 19 | 3 | a |  | 6.9082 | 0.25881
11 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 1 | 442 | a |  | 20.9508 | 0.359
12 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 6 | 100 | a |  | 14.0011 | 0.16083
13 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 16 | 25 | a |  | 7.2022 | 0.18664
14 | EN727 | 20250126 | 1112 | 452 | L10 | C | 9 | 21 | 5 | a |  | 6.5279 | 0.24708
15 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 2 | 133 | a |  | 15.8404 | 0.32207
16 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 3 | 102 | a |  | 9.6863 | 0.10033
17 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 11 | 33 | a |  | 9.518 | 0.3056
18 | EN727 | 20250126 | 1837 | 139 | L8 | C | 10 | 19 | 7 | a |  | 8.9082 | 0.13937
19 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 2 | 206 | a |  | 21.1661 | 0.45744
20 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 6 | 100 | a |  | 11.3377 | 0.05593
21 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 14 | 40 | a |  | 8.2798 | 0.23757
22 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 14 | 40 | b | DUPLICATE | 8.6525 | 0.32649
23 | EN727 | 20250126 | 2107 | 212 | L9 | C | 11 | 21 | 6 | a |  | 8.9126 | 0.2852
24 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 5 | 100 | a |  | 9.2962 | 0.15411
25 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 15 | 30 | a |  | 8.7563 | 0.22907
26 | EN727 | 20250127 | 352 | 123 | L7 | C | 14 | 19 | 4 | a |  | 9.2448 | 0.034439
27 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 2 | 89 | a |  | 8.1749 | 0.20923
28 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 9 | 34 | a |  | 8.8044 | 0.46602
29 | EN727 | 20250127 | 1021 | 95 | L6 | C | 18 | 21 | 4.5 | a |  | 8.647 | 0.30132
30 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 13 | 30 | a |  | 7.0361 | 0.26699
31 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 13 | 30 | b | DUPLICATE | 7.8765 | 0.32408
32 | EN727 | 20250127 | 1959 | 77 | L5 | C | 19 | 17 | 5 | a |  | 7.188 | 0.27275
33 | EN727 | 20250128 | 230 | 54 | L3 | C | 20 | 5 | 30 | a |  | 4.7628 | 0.27658
34 | EN727 | 20250128 | 230 | 54 | L3 | C | 20 | 12 | 4 | a |  | 5.1913 | 0.13666
35 | EN727 | 20250128 | 950 | 22 | MVCO | C | 21 | 21 | 5.6 | a |  | 5.8415 | 0.1175
36 | EN727 | 20250129 |  |  |  | blank |  |  |  | a | Endeavor SPL MQ blank | 0 | 0
END///